## Instructions Tab
INSTRUCTIONS TAB
Rainwater harvesting is an efficient, low-cost method of providing water to cattle. This purpose of the calculator is to serve as a step-by-step tool for cattle producers to determine how much water their herd requires. Using this information, the amount of rainwater collected off a known roof area or areas (Option 1) OR the roof area required to water a herd (Option 2) can be computed.
WATER REQUIREMENT CALCULATOR
How much water do you need?
Complete this step to determine how much water your herd requires. Enter the quantities below and view the results in the "Total" column.
| Enter Number of Cattle in Your Herd: | 20
| Enter Water Intake Per Cow (gallons/day): | 25
| Enter Average Rainfall (inches/month): | 3.5
| Enter Length of Rotation Period (days): | 10
| Enter Length of Month (days): | 31
|  | Water Required |  | Number of Cattle |  | Water Intake Per Cow (gallons/day) |  | Rotation Period (days) |  | Total (gallons)
|  | Per Day: |  | 20 | x | 25 |  | - | = | 500
|  | Per Rotation Period: |  | 20 | x | 25 | x | 10 | = | 5000
|  | Per Month: |  | 20 | x | 25 |  | - | x | 31 | / | 10 | = | 1550
Option 1: Finding Rainwater Runoff
Complete this step if you have a KNOWN roof area or roof areas and you wish to calculate how much rainwater can be collected per month.
| Enter Roof Area 1 (square feet): | 1000
| Enter Roof Area 2 (square feet): | 500
| Enter Roof Area 3 (square feet): | 25
|  | Structure Area |  | Roof Area (square feet) | x | 1 acre/43,560 feet | x | Number of Gallons in an Acre-Inch | x | Average Rainfall (inches/month) | = | Rainfall Runoff (gallons/month)
|  | Roof Area 1: |  | 1000 | x | 2.2957e-05 | x | 27154 | x | 3.5 | = | 2181.7952
|  | Roof Area 2: |  | 500 | x | 2.2957e-05 | x | 27154 | x | 3.5 | = | 1090.8976
|  | Roof Area 3: |  | 25 | x | 2.2957e-05 | x | 27154 | x | 3.5 | = | 54.5449
|  | Total Area: |  | 1525 | x | 2.2957e-05 | x | 27154 | x | 3.5 | = | 3327.2377
| Will the current roof area support the herd? | No
Option 2: Finding Required Roof Area
Complete this step if you are building a structure to collect rainwater off
of and wish to know what roof area is required to support your herd.
|  | Water Required (gallons/month) | / | Average Rainfall (inches/month) | / | Number of Gallons in an Acre-Inch | x | Number of Square Feet in an Acre | = | Roof Area Required (square feet)
|  | 5000 | / | 3.5 | / | 27154 | x | 43560 | = | 2291.6908
STEP BY STEP PROCESS
STEP 1: Determine the amount of water your herd requires
How much water do you need?
Complete this step to determine how much water your herd requires. Enter the quantities below and look for the results in the "Total" column.
| Enter Number of Cattle in Herd: | 20
| Enter Water Intake Per Cow (gallons/day): | 25
| Enter Average Rainfall (inches/month): | 3.5
| Enter Length of Rotation Period (days): | 10
| Enter Number of Days in the Month: | 31
|  | Water Required |  | Number of Cattle |  | Water Intake Per Cow (gallons/day) |  | Rotation Period (days) |  | Total (gallons)
|  | Per Day: |  | 20 | x | 25 |  | - | = | 500
|  | Per Rotation Period: |  | 20 | x | 25 | x | 10 | = | 5000
|  | Per Month: |  | 20 | x | 25 |  | - | x | 31 | / | 10 | = | 1550
Step 2: Choose which option you require.
Option 1: Finding Rainwater Runoff
Option 2: Finding Required Roof Area
Step 3: Option 1
Option 1: Finding Rainwater Runoff
Complete this step if you have a KNOWN roof area or roof areas and you wish to calculate how much rainwater can be collected per month.
| Enter Roof Area 1 (square feet): | 1000
| Enter Roof Area 2 (square feet): | 500
| Enter Roof Area 3 (square feet): | 25
|  | Structure Area |  | Roof Area (square feet) | x | Number of Square Feet in an Acre | x | Number of Gallons in an Acre-Inch | x | Average Rainfall (inches/month) | = | Rainfall Runoff (gallons/month)
|  | Roof Area 1: |  | 1000 | x | 2.2957e-05 | x | 27154 | x | 3.5 | = | 2181.7952
|  | Roof Area 2: |  | 500 | x | 2.2957e-05 | x | 27154 | x | 3.5 | = | 1090.8976
|  | Roof Area 3: |  | 25 | x | 2.2957e-05 | x | 27154 | x | 3.5 | = | 54.5449
|  | Total Area: |  | 1525 | x | 2.2957e-05 | x | 27154 | x | 3.5 | = | 3327.2377
| Will the current roof area support the herd? | No
Step 4: Option 2
Option 2: Finding Required Roof Area
Complete this step if you are building a structure to collect rainwater off of and wish to know what roof area is required to support your herd.
|  | Water Required (gallons/month) | / | Average Rainfall (inches/month) | / | Number of Gallons in an Acre-Inch | x | Number of Square Feet in an Acre | = | Roof Area Required (square feet)
|  | 5000 | / | 3.5 | / | 27154 | x | 43560 | = | 2291.6908
Enter the prompted quantities here - DO NOT TYPE ANYWHERE ELSE. Pay attention to the specified units.
Enter roof area in square feet here. If you only have one roof area, leave Roof Area 2 and Roof area 3 empty.
The calculations of water required per day and per rotation period for your herd are displayed here.
The calculation of rainwater runoff from a specified roof area is displayed here.
This box will display "Yes" if the amount of water runoff from the specified area is greater than or equal to the gallons per month required by the herd. It will display "No" if water runoff from the specified area is less than what is required by the herd.
The calculation of the required roof area to water your herd is displayed here.
Step 1.1: Enter the prompted quantities - pay special attention to units, otherwise your calculations will be inaccurate.
Gallons per rotation period result is used in both Option 1 and Option 2.
Use Option 1 if you known the roof area you would like to collect off of. Using the gallons per month required by the herd found in Step 1, Option 1 will calculate whether collecting rainwater off of an area that size will sustain a herd.
Use Option 2 if you would like to know the roof area required to collect enough water to sustain your herd. Option 2 will use the gallons per month required by the herd found in Step 1 to determine the roof area that will provide that amount of water.
If you require Option 2 as determined by Step 2, skip Step 3 and complete Step 4.
Step 3.1: Enter the roof area in square feet here. If you only have one roof area, leave the other cells blank.
There is nothing to type in for this step; Excel will pull the information you typed in and the results of Step 1 to do these calculations.
The total amount of rainfall runoff in gallons per month is displayed here.
The total roof area required to water your herd is displayed here.
Units are displayed in parenthesis.
Boxes and arrows in red prompt you to enter information.
Move between the Instructions Tab and the Water Requirement Calculator by clinking the tabs at the bottom left of the worksheet.
Orange boxes provide more information.

## Water Reqirement Calculator
WATER REQUIREMENT CALCULATOR
How much water do you need?
Complete this step to determine how much water your herd requires. Enter the quantities below and view the results in the "Total" column.
| Enter Number of Cattle in Herd: | 20 |  | Enter the prompted quantities here. Pay attention to the specified units.
| Enter Water Intake Per Cow (gallons/day): | 25
| Enter Average Rainfall (inches/month): | 3.5
| Enter Length of Rotation Period (days): | 10
| Enter Length to Return (days): | 31
Total Gallons of Water Needed for Cattle Herd. Calculated from values in table above.
|  | Water Required |  | Number of Cattle |  | Water Intake Per Cow (gallons/day) |  | Rotation Period (days) |  | Total (gallons)
|  | Per Day: |  | 20 | x | 25 |  | - | = | 500
|  | Per Rotation Period: |  | 20 | x | 25 | x | 10 | = | 5000
|  | Per Month: |  | 20 | x | 25 |  | - | x | 31 | / | 10 | = | 1550
Option 1: Finding Rainwater Runoff
Complete this step if you have a KNOWN roof area or roof areas and you wish to calculate how much rainwater can be collected per month.
| Enter Roof Area 1 (square feet): | 1000 |  | Enter roof area(s) here. If only one roof, enter "0" for others.
| Enter Roof Area 2 (square feet): | 500
| Enter Roof Area 3 (square feet): | 25
Stormwater Likely to Be Collected
|  | Structure Area |  | Roof Area (square feet) | x | 1 acre/43,560 sq. ft. | x | Number of Gallons in an Acre-Inch | x | Average Rainfall (inches/month) | x | Rainfall Collection Efficiency | = | Rainfall Runoff (gallons/month)
|  | Roof Area 1: |  | 1000 | x | 2.2957e-05 | x | 27154 | x | 3.5 | x | 0.95 | = | 2072.7055
|  | Roof Area 2: |  | 500 | x | 2.2957e-05 | x | 27154 | x | 3.5 | x | 0.95 | = | 1036.3527
|  | Roof Area 3: |  | 25 | x | 2.2957e-05 | x | 27154 | x | 3.5 | x | 0.95 | = | 51.8176
|  | Total Area: |  | 1525 | x | 2.2957e-05 | x | 27154 | x | 3.5 | x | 0.95 | = | 3160.8758
| Will the current roof area support the herd? | No |  | Gallons Extra (+) or Gallons Short (-) |  |  |  | -1839.1242
Option 2: Finding Required Roof Area
Complete this step if you are building a structure to collect rainwater off of and wish to know what roof area is required to support your herd.
This table is calculated from the data you entered at the top
|  | Water Required (gallons/rotation) | / | Average Rainfall (inches/month) | / | Number of Gallons in an Acre-Inch | x | Number of Square Feet in an Acre | / | Rainfall Collection Efficiency | = | Roof Area Required (square feet)
|  | 5000 | / | 3.5 | / | 27154 | x | 43560 | / | 0.95 | = | 2412.3061