## Sheet1
Energy Efficient Poultry House Lighting Guide
Calculator evaluates energy savings from different lighting options but does not consider initial bulb cost.
Directions: | INPUTS | Light Green cells are input cells which you can change!
Example values are currently in the cell
Number of Flocks |  | 5.5 | per year |  | Light Operating Schedule, each flock
Electric Rate |  | 0.1 | $/kWh |  |  |  | Days | Hrs/day
Number of Houses |  | 4 |  |  | Brood | Bright* | 10 | 23
Dimmer control minimum setting |  |  | 0 |  |  | Dim | 43 | 16
Dimmer control maximum setting |  |  | 100 |  | Non-Brood | Bright* | 5 | 23
[6 empty] | Dim | 40 | 16
*Add 2 days between each flock for miscellaneous operation
Bulb Sizes & Quantity |  |  | Existing |  | Proposed
|  |  | Side | Center | Side | Center
Brood | Bulb Size, Watts |  | 60 | 0 | 13 | 0
| Number of fixtures |  | 48 | 0 | 48 | 0
| Dimmer set point |  | 30 | 0 | 25 | 0
Non-Brood | Bulb Size, Watts |  | 60 | 0 | 13 | 0
| Number of fixtures |  | 24 | 0 | 24 | 0
| Dimmer set point |  | 60 | 0 | 60 | 0
*If no lights exist in either center or side section, enter 0 for all rows
Power Use |  | Existing |  |  | Proposed
|  | Watts | Hrs | kWh | Watts | Hrs | kWh
Brood Chamber | BRIGHT | 2880 | 1265 | 3643.2 | 624 | 1265 | 789.36
| DIM | 1440 | 3784 | 5448.96 | 187.2 | 3784 | 708.3648
Full house | BRIGHT | 1440 | 632.5 | 910.8 | 312 | 632.5 | 197.34
| DIM | 1008 | 3520 | 3548.16 | 218.4 | 3520 | 768.768
Total per house, kWh |  |  |  | 13551.12 |  |  | 2463.8328
Energy Savings
Per house |  | 11087.2872 | kWh/yr |  | dimmer calcs | side - ex. | center - ex. | side prop. | center prop
Per farm |  | 44349.1488 | kWh/yr |  | brood | 0.3 | 0 | 0.25 | 0
[5 empty] | non-brood | 0.6 | 0 | 0.6 | 0
Monetary Savings | [6 empty] | Existing | Proposed
Per house |  | 1108.7287 | $/yr |  |  | Energy expense | 1355.112 | 246.3833
Per farm |  | 4434.9149 | $/yr
Center
Side lighting